## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Critical Electrical & Gas Safety | All electrical panels and wiring are properly insulated and labeled. | radio | Properly Insulated | Minor Issues | Hazardous Condition
Critical Electrical & Gas Safety | Circuit breakers (MCBs/RCCBs) tested monthly for functionality. | radio | Tested & Working | Tested Sometimes | Not Tested
Critical Electrical & Gas Safety | No overloading of sockets or use of multiple extension boards. | radio | No Overloading | Occasional Overload | Frequent Overload
Critical Electrical & Gas Safety | LPG or PNG pipelines inspected daily for leaks or corrosion. | radio | No Leaks | Minor Leak Observed | Leak Detected
Critical Electrical & Gas Safety | LPG/PNG cylinders stored upright in ventilated area with chain support. | radio | Stored Safely | Partially Safe | Unsafe Storage
Critical Electrical & Gas Safety | Gas leak detectors and alarms functional and tested monthly. | radio | Functional & Tested | Tested Sometimes | Not Working
Critical Electrical & Gas Safety | Gas supply shut-off valves easily accessible and labeled. | radio | Accessible & Labeled | Partially Accessible | Not Accessible
Critical Electrical & Gas Safety | Earth resistance values checked annually (<1 ohm). | radio | Within Limit | Slightly High | Not Compliant
Critical Electrical & Gas Safety | All electrical appliances switched off after use or during non-operational hours. | radio | Always Switched Off | Sometimes Left On | Frequently Left On
Critical Electrical & Gas Safety | No water spillage or wet surfaces near electrical sockets. | radio | Dry & Safe | Occasionally Wet | Wet & Unsafe
Documentation & Recordkeeping | All fire, safety, and medical certificates stored systematically. | radio | Well Organized | Partially Organized | Not Organized
Documentation & Recordkeeping | Emergency preparedness file includes plans, contacts & drill reports. | radio | Complete File | Partially Complete | Not Available
Fire & Evacuation Drills | Fire evacuation plan displayed at entry and key work zones. | radio | Displayed Clearly | Displayed But Faded | Not Displayed
Fire & Evacuation Drills | Mock fire and evacuation drills conducted quarterly. | radio | Conducted Regularly | Conducted Sometimes | Not Conducted
Fire & Evacuation Drills | Emergency assembly point marked and kept clear. | radio | Clearly Marked | Partially Marked | Not Marked
Fire & Evacuation Drills | Emergency contact numbers displayed prominently. | radio | Displayed Properly | Incomplete Display | Not Displayed
Fire & Evacuation Drills | Fire wardens and first responders identified and trained. | radio | Trained & Active | Partially Trained | Not Trained
First Aid & Medical Preparedness | Trained first aiders available every shift. | radio | Available Every Shift | Available Sometimes | Not Available
First Aid & Medical Preparedness | All first aid materials within expiry & replenished regularly. | radio | All Valid | Some Expired | Mostly Expired
First Aid & Medical Preparedness | Staff trained on basic first aid and CPR techniques. | radio | Fully Trained | Partially Trained | Not Trained
First Aid & Medical Preparedness | Emergency medical tie-up with nearby hospital/clinic. | radio | Tie-Up Available | Partially Available | No Tie-Up
First Aid & Medical Preparedness | Injury/accident logbook maintained for all incidents. | radio | Well Maintained | Some Entries Missing | Not Maintained
Incident Reporting & Investigation | All accidents and near-miss incidents reported immediately. | radio | Reported Immediately | Reported Late | Not Reported
Incident Reporting & Investigation | Post-incident review & root cause analysis conducted. | radio | Reviewed Properly | Partially Reviewed | Not Reviewed
Incident Reporting & Investigation | Incident CAPA tracked for closure. | radio | CAPA Closed | CAPA Pending | No CAPA
Incident Reporting & Investigation | Monthly EHS performance report submitted to management. | radio | Submitted Monthly | Submitted Sometimes | Not Submitted
Maintenance Safety Equipment & Infrastructure | Fire extinguishers and hydrants tagged with inspection dates. | radio | Tags Updated | Some Tags Missing | No Tags
Maintenance Safety Equipment & Infrastructure | Fire hose reels, alarms, and emergency lights checked monthly. | radio | Fully Functional | Minor Issues | Not Working
Maintenance Safety Equipment & Infrastructure | Emergency exit signs luminous and visible during power failure. | radio | Visible & Working | Dim or Flickering | Not Visible
Maintenance Safety Equipment & Infrastructure | First aid boxes available at accessible points. | radio | Fully Stocked | Partially Stocked | Empty/Expired
Maintenance Safety Equipment & Infrastructure | Stretcher and basic rescue equipment available for emergencies. | radio | Available & Accessible | Partially Available | Not Available
Safety Training & Awareness | Fire safety & emergency handling training conducted for all employees. | radio | Training Completed | Partially Completed | Not Conducted
Safety Training & Awareness | Gas safety awareness & emergency cut-off explained to kitchen staff. | radio | Communicated Clearly | Partially Communicated | Not Communicated
Safety Training & Awareness | Emergency simulation drills annually (fire, spill, power failure). | radio | Completed | Partially Completed | Not Done
Safety Training & Awareness | Visitors and contractors briefed on emergency safety procedures. | radio | Briefed Always | Briefed Sometimes | Not Briefed
Super Critical Fire Safety & Control Systems | Fire extinguishers of appropriate type (CO₂, DCP, Foam) are available at key points. | radio | Available & Proper | Partially Available | Not Available
Super Critical Fire Safety & Control Systems | Fire extinguishers are serviced and refilled as per schedule. | radio | Serviced On Time | Serviced Late | Not Serviced
Super Critical Fire Safety & Control Systems | Fire alarm and smoke detection systems are functional. | radio | Functional | Occasional Faults | Not Functional
Super Critical Fire Safety & Control Systems | Automatic fire suppression systems installed near fryers and cooking ranges. | radio | Fully Functional | Partially Functional | Not Functional
Super Critical Fire Safety & Control Systems | Fire exits are accessible, clearly marked, and illuminated. | radio | Clear & Accessible | Partially Blocked | Blocked