## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Critical - Electrical Safety & Maintenance | All electrical wiring properly insulated and free from damage. | yes_no_na | Yes | No | NA
Critical - Electrical Safety & Maintenance | Earth resistance measured annually and within safe limits (<1 ohm). | yes_no_na | Yes | No | NA
Critical - Electrical Safety & Maintenance | Circuit breakers, MCBs, and RCCBs tested quarterly. | yes_no_na | Yes | No | NA
Critical - Electrical Safety & Maintenance | Electrical panels locked, labeled, and equipped with LOTO tags. | yes_no_na | Yes | No | NA
Critical - Electrical Safety & Maintenance | No loose wires, overloading, or unauthorized power extensions. | yes_no_na | Yes | No | NA
Critical - Electrical Safety & Maintenance | Lighting fixtures in service bays fitted with protective covers. | yes_no_na | Yes | No | NA
Critical - Electrical Safety & Maintenance | Backup generator or UPS operational and tested monthly. | yes_no_na | Yes | No | NA
Emergency Equipment & Readiness | Fire alarms, emergency lights, and sirens functional. | yes_no_na | Yes | No | NA
Emergency Equipment & Readiness | Smoke detectors clean, functional, and regularly calibrated. | yes_no_na | Yes | No | NA
Emergency Equipment & Readiness | Fire blanket available near paint and fuel storage areas. | yes_no_na | Yes | No | NA
Emergency Equipment & Readiness | Emergency power backup covers lighting, IT, and safety systems. | yes_no_na | Yes | No | NA
Emergency Equipment & Readiness | Spill control kits available near fuel, paint, and service zones. | yes_no_na | Yes | No | NA
Fire Drills & Evacuation | Fire evacuation plan displayed near exits and notice boards. | yes_no_na | Yes | No | NA
Fire Drills & Evacuation | Fire drills conducted every six months and attendance recorded. | yes_no_na | Yes | No | NA
Fire Drills & Evacuation | Emergency assembly area clearly marked and free of obstructions. | yes_no_na | Yes | No | NA
Fire Drills & Evacuation | Emergency exit doors operational and not locked during work hours. | yes_no_na | Yes | No | NA
Fire Drills & Evacuation | Staff aware of evacuation procedures and exit locations. | yes_no_na | Yes | No | NA
First Aid & Medical Preparedness | First aid boxes available in workshop, office, and paint areas. | yes_no_na | Yes | No | NA
First Aid & Medical Preparedness | Trained first aiders available in each shift. | yes_no_na | Yes | No | NA
First Aid & Medical Preparedness | Stretcher, eyewash station, and burn kit available and functional. | yes_no_na | Yes | No | NA
First Aid & Medical Preparedness | Medical emergency contact numbers displayed in visible areas. | yes_no_na | Yes | No | NA
First Aid & Medical Preparedness | Incident log maintained for all injuries and first aid cases. | yes_no_na | Yes | No | NA
Fuel & Chemical Safety | LPG, diesel, or fuel tanks stored in ventilated area with signage. | yes_no_na | Yes | No | NA
Fuel & Chemical Safety | Fuel dispensing equipment grounded and inspected monthly. | yes_no_na | Yes | No | NA
Fuel & Chemical Safety | Chemicals stored in fire-rated cabinet with MSDS available. | yes_no_na | Yes | No | NA
Fuel & Chemical Safety | No fuel spillage or leakage in workshop or storage area. | yes_no_na | Yes | No | NA
Fuel & Chemical Safety | Paint booth fitted with automatic fire suppression system. | yes_no_na | Yes | No | NA
Incident Reporting & Investigation | All incidents, near misses, or fire hazards reported immediately. | yes_no_na | Yes | No | NA
Incident Reporting & Investigation | Incident investigation completed within 48 hours. | yes_no_na | Yes | No | NA
Incident Reporting & Investigation | Post-incident corrective actions implemented and verified. | yes_no_na | Yes | No | NA
Incident Reporting & Investigation | EHS performance review conducted monthly by management. | yes_no_na | Yes | No | NA
Super Critical - Fire Prevention & Control Systems | Fire extinguishers (CO₂, DCP, Foam) installed at all critical points. | yes_no_na | Yes | No | NA
Super Critical - Fire Prevention & Control Systems | Fire extinguishers tagged with valid inspection date and service record. | yes_no_na | Yes | No | NA
Super Critical - Fire Prevention & Control Systems | Automatic fire detection and alarm systems installed and functional. | yes_no_na | Yes | No | NA
Super Critical - Fire Prevention & Control Systems | Fire hydrant system functional and water pressure tested monthly. | yes_no_na | Yes | No | NA
Super Critical - Fire Prevention & Control Systems | No obstruction in front of fire extinguishers, hydrants, or emergency exits. | yes_no_na | Yes | No | NA
Training & Awareness | All employees trained on fire, electrical, and emergency procedures. | yes_no_na | Yes | No | NA
Training & Awareness | Contractors and visitors briefed on emergency safety rules before entry. | yes_no_na | Yes | No | NA
Training & Awareness | Emergency contact list updated and distributed quarterly. | yes_no_na | Yes | No | NA
Training & Awareness | Mock emergency drill results reviewed for response time and improvement. | yes_no_na | Yes | No | NA