## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Continuous Improvement & Review | Annual emergency preparedness review conducted by EHS and management. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Battery & Electrical Fire Management | Lithium battery storage and service areas have Class D extinguishers or sand buckets. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Battery & Electrical Fire Management | No water-based extinguishing used on electrical or battery fires. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Battery & Electrical Fire Management | Fire blankets or thermal barriers are available near high-voltage and battery areas. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Battery & Electrical Fire Management | Battery thermal runaway sensors are connected to fire alarm system. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Battery & Electrical Fire Management | Insulated tools and PPE are available near battery service and charging zones. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Battery & Electrical Fire Management | Fire response plan includes procedures for electrical isolation during incidents. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Documentation & Recordkeeping | Fire and safety inspection reports maintained for minimum 3 years. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Documentation & Recordkeeping | Emergency drills, incidents, and maintenance logs are digitized for traceability. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Documentation & Recordkeeping | All fire extinguishers and alarm systems have asset IDs for digital tracking. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Response - Incident Management | Emergency Response Team (ERT) trained for fire, shock, and chemical spill events. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Response - Incident Management | Emergency contact directory includes fire, ambulance, police, and internal EHS. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Response - Incident Management | Incident reporting and investigation system in place. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Response - Incident Management | Spill kits and containment barriers available for coolant or electrolyte leaks. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Response - Incident Management | Crisis management plan includes procedures for power outage and charger failure. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Environmental & Hazard Control | No flammable waste or oil stored near emergency exits or battery zones. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Environmental & Hazard Control | Fuel or diesel storage (if any) is in fire-rated enclosures with signage. | radio | Compliant | Partially Compliant | Non-Compliant | NA
First Aid & Medical Preparedness | First aid kits are fully stocked and checked monthly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
First Aid & Medical Preparedness | Emergency eyewash and shower stations available in chemical handling zones. | radio | Compliant | Partially Compliant | Non-Compliant | NA
First Aid & Medical Preparedness | Designated first aid responders are trained and available on every shift. | radio | Compliant | Partially Compliant | Non-Compliant | NA
First Aid & Medical Preparedness | Nearby hospitals or clinics are identified with emergency contact details. | radio | Compliant | Partially Compliant | Non-Compliant | NA
First Aid & Medical Preparedness | Automatic External Defibrillator (AED) installed and tested regularly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Fire Equipment Inspection | Fire extinguishers and suppression systems are visually inspected weekly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Fire Equipment Inspection | Fire alarm batteries and power backup systems are tested monthly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Fire Equipment Inspection | Fire doors, exit gates, and fire-rated walls are intact and functional. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Fire Equipment Inspection | All emergency lights and illuminated exit signs are operational. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Fire Equipment Inspection | Fire pumps, valves, and tanks are inspected and tested per schedule. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Safety - Evacuation & Emergency Planning | Emergency evacuation maps and routes are displayed at visible locations. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Safety - Evacuation & Emergency Planning | Emergency exits are unlocked, unobstructed, and clearly marked. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Safety - Evacuation & Emergency Planning | Assembly points are clearly designated outside the main risk area. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Safety - Evacuation & Emergency Planning | Evacuation drills are conducted at least twice per year. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Safety - Evacuation & Emergency Planning | Emergency PA (Public Address) system is functional for announcements. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Fire Detection & Prevention Systems | Fire detection system (smoke and heat sensors) is installed in all operational zones. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Fire Detection & Prevention Systems | Fire alarm systems are functional and connected to control room or central alert panel. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Fire Detection & Prevention Systems | Automatic fire suppression systems (sprinkler, aerosol, or gas-based) are installed and active. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Fire Detection & Prevention Systems | Fire extinguishers (CO₂, D-class, dry powder) are available and serviced regularly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Fire Detection & Prevention Systems | Fire water hydrants and hoses are accessible and tested quarterly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Training & Competency - Emergency Drills | Fire and evacuation training provided to all employees. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Training & Competency - Emergency Drills | Emergency responders receive refresher firefighting and rescue training every 6 months. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Training & Competency - Emergency Drills | Tabletop emergency simulations conducted for key scenarios (fire, battery leak, power fault). | radio | Compliant | Partially Compliant | Non-Compliant | NA