## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Critical - Waste Management | Solid waste is segregated at source into biodegradable, non-biodegradable, and hazardous waste. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | E-waste (PCB, cables, circuits, batteries) is disposed of through authorized recyclers only. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | Waste storage areas are covered, labeled, and maintained in clean condition. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | Hazardous waste containers are leak-proof and properly labeled with hazard class. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | Used lubricants, oil filters, and hydraulic fluids are collected in sealed drums. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | Metal scrap and recyclable items are handled separately and sold to registered recyclers. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | No open burning or uncontrolled disposal of waste is practiced. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | Battery waste is stored safely and disposed through CPCB-authorized recyclers. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Waste Management | Sludge from wastewater treatment is dried and handled safely. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Documentation & Reporting - Compliance Records | Environmental monitoring reports are submitted to authorities on schedule. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Documentation & Reporting - Compliance Records | Annual Sustainability Report includes carbon footprint, waste, and energy data. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Energy Efficiency - Operations | Energy consumption per charger/EV production unit is monitored. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Energy Efficiency - Operations | All lighting and HVAC systems use energy-efficient technologies (LED, inverter-based). | radio | Compliant | Partially Compliant | Non-Compliant | NA
Energy Efficiency - Operations | Motion sensors or timers are installed in low-occupancy areas. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Energy Efficiency - Operations | Energy audits are conducted annually by accredited auditors. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Energy Efficiency - Operations | Power factor correction and demand monitoring systems are operational. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Pollution Control & Monitoring | Air quality (PM10, PM2.5, CO, NOx) is monitored at prescribed intervals. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Pollution Control & Monitoring | Noise levels are within statutory limits (below 75 dB daytime, 70 dB nighttime). | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Pollution Control & Monitoring | Stack emissions from DG sets are measured and recorded quarterly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Pollution Control & Monitoring | Oil-water separators are functional and maintained in good condition. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Pollution Control & Monitoring | Sewage and wastewater treatment systems are operating effectively. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Pollution Control & Monitoring | Water consumption data is monitored daily for conservation tracking. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Renewable Integration - Energy Systems | Solar panels or renewable systems are installed and functional on-site. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Renewable Integration - Energy Systems | Renewable energy share in total consumption is measured and reported. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Renewable Integration - Energy Systems | Power generation and grid export data are recorded daily. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Renewable Integration - Energy Systems | Solar or wind systems are inspected quarterly for performance efficiency. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Renewable Integration - Energy Systems | Battery backup systems from renewable sources are maintained properly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Resource Conservation - Water & Material | Rainwater harvesting system is installed and functional. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Resource Conservation - Water & Material | Treated wastewater is reused for gardening or cleaning where feasible. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Resource Conservation - Water & Material | Use of single-use plastics is banned within premises. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Resource Conservation - Water & Material | Green belt and plantation areas are maintained properly. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Resource Conservation - Water & Material | Procurement policy includes eco-friendly materials and packaging. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Legal & Environmental Compliance | All environmental clearances (CPCB, SPCB, MoEFCC) are valid and available on-site. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Legal & Environmental Compliance | Environmental management system (EMS) is implemented as per ISO 14001 standards. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Legal & Environmental Compliance | All effluents and emissions are within permissible limits set by regulatory bodies. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Legal & Environmental Compliance | Consent to Operate (CTO) and Consent to Establish (CTE) are obtained and renewed timely. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - Legal & Environmental Compliance | Environmental policy and sustainability commitments are displayed prominently. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Training & Awareness - Sustainability Practices | Employees are trained in waste segregation and environmental practices. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Training & Awareness - Sustainability Practices | Posters and digital boards promote environmental safety and energy saving. | radio | Compliant | Partially Compliant | Non-Compliant | NA
Training & Awareness - Sustainability Practices | EHS team conducts periodic sustainability audits. | radio | Compliant | Partially Compliant | Non-Compliant | NA