## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Critical - Grounding & Earthing Systems | Main earthing grid is installed as per IS 3043 with proper electrode spacing. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Grounding & Earthing Systems | Earthing pit test records are updated quarterly. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Grounding & Earthing Systems | All metallic structures, chargers, and enclosures are bonded to earth. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Grounding & Earthing Systems | Earth busbars and conductors are free from corrosion and tight at joints. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Grounding & Earthing Systems | Neutral and earth are properly segregated in all panels. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Grounding & Earthing Systems | Earthing connections for EVSE DC output are inspected and recorded. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Grounding & Earthing Systems | Lightning arrestors are installed and tested annually. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Grounding & Earthing Systems | Earthing test points are clearly marked and easily accessible. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Lockout/Tagout (LOTO) Procedures | LOTO procedure is implemented for all maintenance activities. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Lockout/Tagout (LOTO) Procedures | Personnel performing LOTO are trained and authorized. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Lockout/Tagout (LOTO) Procedures | Energy isolation points are clearly identified and labeled. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Lockout/Tagout (LOTO) Procedures | LOTO locks, keys, and tags are stored securely when not in use. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Critical - Lockout/Tagout (LOTO) Procedures | Periodic LOTO audits are performed to ensure compliance. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Preparedness & Response | Electrical incident response plan is displayed and understood by team. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Preparedness & Response | Emergency contact numbers are displayed near switchgear and control rooms. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Preparedness & Response | Electrical first-aid kit and insulating rescue rod available at HV rooms. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Preparedness & Response | Fire detection and suppression system functional in HV rooms. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Emergency Preparedness & Response | Periodic mock drills conducted for electrical shock and fire incidents. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Electrical Panels & Equipment | All electrical panels are dust-free, sealed, and labeled with feeder names. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Electrical Panels & Equipment | Panel doors have interlock systems to prevent opening under load. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Electrical Panels & Equipment | Circuit breakers and isolators are tested for mechanical operation. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Electrical Panels & Equipment | All cable terminations are tight and insulated with proper lugs and sleeves. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Electrical Panels & Equipment | Busbars are properly insulated and color coded (R-Y-B-N). | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Electrical Panels & Equipment | Electrical insulation resistance (IR) testing conducted annually. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Maintenance - Electrical Panels & Equipment | Earth continuity testing is performed for all equipment. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Safety - PPE & Personal Protection | All electrical technicians wear insulating gloves rated for voltage. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Safety - PPE & Personal Protection | Arc flash suits, face shields, and boots are available for HV operations. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Safety - PPE & Personal Protection | PPE inspection records are maintained and updated monthly. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Safety - PPE & Personal Protection | Eye wash stations and rubber mats are placed near electrical panels. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Safety - PPE & Personal Protection | Electrical personnel are prohibited from wearing metal jewelry or conductive items. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Safety - PPE & Personal Protection | Emergency stop and isolation switches are accessible at all times. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - High Voltage System Safety | All high-voltage systems are clearly labeled with warning signage. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - High Voltage System Safety | Only authorized and trained personnel access high-voltage areas. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - High Voltage System Safety | High-voltage cabinets and enclosures are kept locked when not in use. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - High Voltage System Safety | Electric shock risk signage is displayed near all live panels and transformers. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Super Critical - High Voltage System Safety | High-voltage cables and terminations are intact with no visible damage or moisture. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Testing & Calibration - Instruments & Tools | Voltage testers, clamp meters, and IR testers are calibrated annually. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Testing & Calibration - Instruments & Tools | Dielectric strength of insulating tools verified as per standard. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Testing & Calibration - Instruments & Tools | High-voltage gloves and mats undergo dielectric test every 6 months. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA
Testing & Calibration - Instruments & Tools | Ground resistance tester and insulation tester are maintained in good condition. | checkbox | Compliant | Partially Compliant | Non-Compliant | NA