## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Electrical Safety | Are all electrical circuits inspected to ensure there is no sign of overloading or overheating? | yes_no_na | Yes | No | NA
Electrical Safety | Are flexible cables and extension leads used only where necessary and limited to short lengths? | yes_no_na | Yes | No | NA
Electrical Safety | Are all electrical installations tested periodically as per regulatory requirements? | yes_no_na | Yes | No | NA
Electrical Safety | Is all electrical equipment kept at a safe distance from combustible materials? | yes_no_na | Yes | No | NA
Electrical Safety | Are only trained and authorized personnel permitted to carry out electrical maintenance? | yes_no_na | Yes | No | NA
Emergency Preparedness | Are emergency lighting and signage checked routinely for functionality? | yes_no_na | Yes | No | NA
Fire Detection and Alarm Systems | Is the fire alarm system functional and audible in all areas of the premises? | yes_no_na | Yes | No | NA
Fire Detection and Alarm Systems | Are adequate types and numbers of portable fire extinguishers placed as per site fire risk? | yes_no_na | Yes | No | NA
Fire Safety Management | Are staff members adequately trained and confident in implementing fire safety measures? | yes_no_na | Yes | No | NA
Fire Safety Management | Is there an established process to monitor and review the effectiveness of fire safety systems? | yes_no_na | Yes | No | NA
Fire Safety Management | Do employees understand how to identify and report any potential fire risk or unsafe condition? | yes_no_na | Yes | No | NA
Fire Service Facilities and Liaison | Can fire brigade vehicles easily access the building for firefighting and rescue operations? | yes_no_na | Yes | No | NA
General | Is waste material promptly disposed of in designated containers to avoid fire hazards? | yes_no_na | Yes | No | NA
General | Are flammable materials stored in safe quantities and in approved storage areas? | yes_no_na | Yes | No | NA
General | Are workspaces clean and tidy, with no accumulation of combustible waste? | yes_no_na | Yes | No | NA
General | Is there a clear system in place for immediate reporting of fire hazards or unsafe acts? | yes_no_na | Yes | No | NA
Means of Escape | Are emergency exits of sufficient number and size to ensure safe evacuation during emergencies? | yes_no_na | Yes | No | NA
Notices and Fire Safety Signs | Are all fire exits and escape routes clearly marked with appropriate signage? | yes_no_na | Yes | No | NA
Notices and Fire Safety Signs | Are all “Push Bar to Open” or emergency door signs properly displayed and readable? | yes_no_na | Yes | No | NA
Portable Fire-fighting Equipment | Are fire extinguishers and blankets clearly visible, unobstructed, and securely wall-mounted? | yes_no_na | Yes | No | NA
Portable Fire-fighting Equipment | Are extinguishers’ pressure gauges within the acceptable range (green zone)? | yes_no_na | Yes | No | NA
Portable Fire-fighting Equipment | Are extinguisher locations clearly marked and easy to identify during an emergency? | yes_no_na | Yes | No | NA
Testing, Maintenance and Records | Are maintenance logs for fire alarms, extinguishers, and emergency systems regularly updated? | yes_no_na | Yes | No | NA
Testing, Maintenance and Records | Are periodic checks of automatic sprinkler and alarm systems conducted and documented properly? | yes_no_na | Yes | No | NA
Testing, Maintenance and Records | Are records of fire evacuation drills properly maintained and updated? | yes_no_na | Yes | No | NA
Testing, Maintenance and Records | Are testing records for fire hoses, alarms, and extinguishers maintained as per standards? | yes_no_na | Yes | No | NA
Testing, Maintenance and Records | Is there a schedule for periodic fire drills and system testing to ensure readiness? | yes_no_na | Yes | No | NA