## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
BLOOD-BORNE PATHOGENS | Is the blood-borne pathogen written program available, current, and has it been reviewed within the last year? | yes_no_na
BLOOD-BORNE PATHOGENS | Do employees understand what Standard Precautions (formerly Universal Precautions/Body Substance Isolation) means? | yes_no_na
BLOOD-BORNE PATHOGENS | Are lab coats and gloves removed before leaving the work area? | yes_no_na
BLOOD-BORNE PATHOGENS | Do all staff remove their Lab coats while going to Pantry area? | yes_no_na
BLOOD-BORNE PATHOGENS | Are hands washed before leaving the work area? | yes_no_na
BLOOD-BORNE PATHOGENS | Are sharps containers available and used? | yes_no_na
BLOOD-BORNE PATHOGENS | Are sharps containers disposed of when three-fourths full? | yes_no_na
BLOOD-BORNE PATHOGENS | Is mouth pipetting prohibited? | yes_no_na
BLOOD-BORNE PATHOGENS | Do employees refrain from eating, drinking, smoking, applying cosmetics and lip balm, or manipulating contact lenses in the work area? | yes_no_na
BLOOD-BORNE PATHOGENS | Have employees responsible for shipping diagnostic and infectious specimens been trained? | yes_no_na
CHEMICAL HYGIENE | Is the Chemical Hygiene Plan available, current, and reviewed within the last year? | yes_no_na
CHEMICAL HYGIENE | Do employees know where the Material Safety Data Sheets (MSDS) are located? | yes_no_na
CHEMICAL HYGIENE | Do employees know how to use the MSDS to look up spills and first aid for a chemical they use? | yes_no_na
CHEMICAL HYGIENE | Has the chemical inventory been performed and updated in the last 12 months? | yes_no_na
CHEMICAL HYGIENE | Is there a list of carcinogens, toxic chemicals and reproductive toxins? | yes_no_na
CHEMICAL HYGIENE | Are all manufactured chemical containers labelled with the appropriate chemical identity and hazard warning information? | yes_no_na
CHEMICAL HYGIENE | Are flammable or toxic chemicals kept in closed containers when not in use? | yes_no_na
CHEMICAL HYGIENE | Are chemicals stored away from heat, sunlight, or reactive substances? | yes_no_na
CHEMICAL HYGIENE | Are chemicals not currently being used placed in the appropriate storage cabinet? | yes_no_na
CHEMICAL HYGIENE | Do employees understand how to properly store chemicals? | yes_no_na
CHEMICAL HYGIENE | Is environmental monitoring performed and documented where appropriate? | yes_no_na
CHEMICAL HYGIENE | Have employees been trained in spill clean-up procedures including formaldehyde, if applicable? | yes_no_na
CHEMICAL HYGIENE | Are chemical fume hoods certified annually? | yes_no_na
CHEMICAL HYGIENE | Has initial and routine air monitoring been performed to determine exposure levels (e.g., formalin and xylene)? | yes_no_na
CHEMICAL HYGIENE | Is the hood sash height kept as low as possible? | yes_no_na
COVID-19 | Do all the staff use appropriate PPEs (Mask, gloves)? | yes_no_na
COVID-19 | Is the Daily COVID safety checklist being followed and documented for staff safety? | yes_no_na
COVID-19 | Does the lab follow the social distancing policy in the lab and the pantry area? | yes_no_na
COVID-19 | Does the entrance of the lab have lab sanitizers at the door opening? | yes_no_na
COVID-19 | Does the lab follow the BMW policies for discard of Masks, gown and other PPEs? | yes_no_na
COVID-19 | Are Hand Hygiene protocols followed in lab as mentioned in the COVID safety SOP?? | yes_no_na
COVID-19 | Are the respiratory etiquettes been followed in the lab? | yes_no_na
DISASTER PREPAREDNESS | Does the Lab. safety manual have a section on Internal & External Disaster (like fire, flood, electrical outage, and spill of hazardous volatises, tornado earthquake, and man casualty situations) preparedness? | yes_no_na
DOCUMENTATION | Do you have copies of safety manual at workbench? | yes_no_na
DOCUMENTATION | Are safety training records for all employees maintained? | yes_no_na
ELECTRICAL | Is electrical equipment grounded with the use of three pronged plugs? | yes_no_na
ELECTRICAL | Are electrical cords free of any frayed edges? | yes_no_na
ELECTRICAL | Are extension cords prohibited from use? | yes_no_na
ELECTRICAL | Are multi-plug adapters prohibited? | yes_no_na
ELECTRICAL | Are receptacles properly wired? | yes_no_na
ELECTRICAL | Are electrical outlets away from wet locations, such as sinks? | yes_no_na
ELECTRICAL | Are all lab instruments & appliances checked for current leakage before initial use, after repair or modification & when a problem is suspected? | yes_no_na
ELECTRICAL | Are heat sources and liquid chemicals kept away from outlets, cords, and equipment as much as possible? | yes_no_na
ELECTRICAL | Are electrical circuit breakers and panels labelled with a current listing of equipment powered by each unit? | yes_no_na
ELECTRICAL | Are all personnel aware of the location of master switches and circuit breaker boards? | yes_no_na
ELECTRICAL | Is the alarm bell easily accessible in -Walk-in Cold Room area? | yes_no_na
EYE WASH | Are eyewash stations located in the lab? | yes_no_na
EYE WASH | Is there a Visible and well-lit signage indicating the location of the eyewash above the station? | yes_no_na
EYE WASH | Are the protective caps in place on the eyewash? | yes_no_na
EYE WASH | Is the eyewash in good working condition? | yes_no_na
EYE WASH | Are the eyewash stations checked weekly? | yes_no_na
EYE WASH | Are eyewash preventive maintenance and routine checks documented? | yes_no_na
FIRE | Is your Lab located in a building classified as Business occupancy? | yes_no_na
FIRE | Do fire exits have an exit sign that is self-illuminated? | yes_no_na
FIRE | Are stairwells and emergency exits accessible and free of obstructions? | yes_no_na
FIRE | Do all employees know where the fire extinguishers are located? | yes_no_na
FIRE | Are all fire extinguishers easily accessible and not blocked? | yes_no_na
FIRE | Have all employees received fire extinguisher training including the opportunity to actually use the extinguisher in a real or simulated practice? | yes_no_na
FIRE | Have fire extinguishers been serviced within the past year? | yes_no_na
FIRE | Does the Lab have fire alarm & smoke detector system in place? | yes_no_na
FIRE | Have annual fire drills been completed and documented? | yes_no_na
FIRE | Has each employee performed at least one full evacuation to the triage area annually? | yes_no_na
FIRE | Are evacuation routes posted in visible locations? | yes_no_na
FIRE | Does staff know how to respond to a fire drill and what evacuation route to use? | yes_no_na
FIRE | Is the lab equipped with CO2 Fire extinguisher? | yes_no_na
FIRE | Is Fire exit plan signboard available ? | yes_no_na
GENERAL | Does the Lab have the safety program policies documented? | yes_no_na
GENERAL | Is this policy easily available for reference to all employees? | yes_no_na
GENERAL | Do all the employees have knowledge about safety issues? | yes_no_na
GENERAL | Do employees receive safety training at the time of hire and annually thereafter? | yes_no_na
GENERAL | Do you have the required safety posters displayed where all employees are likely to see it? | yes_no_na
GENERAL | Is there a current listing posted of emergency contacts with phone numbers? | yes_no_na
GENERAL | Are biological safety cabinets certified annually? | yes_no_na
GENERAL | Do employees understand what to do if they sustain an exposure to blood and body fluids? | yes_no_na
GENERAL | Are all the health workers immunized with Hep B, Covid and Tetanus and has this information been documented?? | yes_no_na
HOUSE KEEPING | Are all work areas, benches, floors, and storage areas maintained in a neat and orderly manner? | yes_no_na
HOUSE KEEPING | Are all work surfaces decontaminated with an appropriate disinfectant at the end of each work shift and when grossly contaminated with blood and body fluids? | yes_no_na
HOUSE KEEPING | Do spill clean-up procedures include soaking up the spill with absorbent material such as paper towels, decontaminating the area with an appropriate disinfectant, and disposing of the contaminated materials appropriately? | yes_no_na
HOUSE KEEPING | Are passageway free of trash and other debris? | yes_no_na
HOUSE KEEPING | Are biohazard receptacles for blood or other potential infectious materials separate from regular trash? | yes_no_na
HOUSE KEEPING | Are these containers in good condition? | yes_no_na
HOUSE KEEPING | Is trash removed at least daily? | yes_no_na
HOUSE KEEPING | Are floors wet mopped daily? | yes_no_na
HOUSE KEEPING | Are floors cleaned and wax stripped regularly to prevent paraffin build up? | yes_no_na
HOUSE KEEPING | Are certain computers and telephones designated as with gloves or without gloves | yes_no_na
HOUSE KEEPING | Is storage in hoods limited so that the ventilation is not obstructed? | yes_no_na
HOUSE KEEPING | Have you looked in each and every cabinet for unlabelled containers and labelled them correctly? | yes_no_na
HOUSE KEEPING | Are loads in centrifuges balanced? | yes_no_na
HOUSE KEEPING | Are tops of centrifuges locked down when in use? | yes_no_na
HOUSE KEEPING | Is chipped or cracked glassware disposed of in a rigid container? | yes_no_na
HOUSE KEEPING | Are workstations disinfected with an disinfectant at the end of each shift? | yes_no_na
HOUSE KEEPING | Are the Bio Medical waste handlers trained at the time of induction and then on yearly basis? | yes_no_na
MICROBIOLOGICAL HAZARDS | Are all employees who come in contact with body fluid educated with standard & universal safety precautions? | yes_no_na
MICROBIOLOGICAL HAZARDS | Does the Lab have an S.O.P for assessing the risk associated with exposure to infectious agents handled in microbiology Lab? | yes_no_na
MICROBIOLOGICAL HAZARDS | Does the Lab use biological safety cabinet for culturing Mycobacteria, fungi? | yes_no_na
MICROBIOLOGICAL HAZARDS | Are there documented records for annual inspection of BSC like filter checks, flow rate, etc.? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Do employees wear safety glasses with side shields (or goggles) in case of splash hazards? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Do employees wear nonslip type shoes especially in areas where paraffin is used? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Do employees full-length lab coats or cover gowns with long sleeves, knitted cuffs, and closed in the front while in the work area? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | If these coats/gowns are reusable, are they laundered by a hospital or outside laundry service? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Do employees remove their lab coats/gowns when leaving the laboratory environment? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Do employees wear appropriate gloves when performing laboratory testing or phlebotomy? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Are gloves available in appropriate sizes for all workers at risk for exposure? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Are hypoallergenic gloves and liners available to workers who are allergic to latex? | yes_no_na
PERSONAL PROTECTIVE EQUIPMENT | Are gloves removed when leaving the laboratory environment? | yes_no_na
WASTE MANAGEMENT | Is all waste disposed of properly according to local guidelines? | yes_no_na
WASTE MANAGEMENT | Is the requisite of bio medical waste bags properly bar coded? | yes_no_na
WASTE MANAGEMENT | Is there a waste management plan? | yes_no_na
WASTE MANAGEMENT | Are all sharps discarded in puncture resistant containers? | yes_no_na
WASTE MANAGEMENT | Are Sharp containers labelled? | yes_no_na
WASTE MANAGEMENT | Have employees been trained as to what can be discharged down the sewer? | yes_no_na
WASTE MANAGEMENT | Is there an S.O.P for solid and liquid waste disposal? | yes_no_na
WASTE MANAGEMENT | Are waste management records retained on-site for at least two years? | yes_no_na
WASTE MANAGEMENT | Are employees trained regarding the segregation of waste by hazard class at the end point of origin? | yes_no_na
WASTE MANAGEMENT | Agreement with Bio medical waste picker vendor | yes_no_na
WASTE MANAGEMENT | Is the SOP updated for the chemical waste pick up by SMS ENVO CLEAN ? | yes_no_na
WASTE MANAGEMENT | Does the lab comply with chemical waste discard policy and storage? | yes_no_na
WASTE MANAGEMENT | Does the lab maintain the records for chemical waste pick up? | yes_no_na
WASTE MANAGEMENT | Is the lab equipped with Effluent treatment plant(ETP)? | yes_no_na
WASTE MANAGEMENT | Are the maintenance records for ETP updated as per the required frequency? | yes_no_na
WASTE MANAGEMENT | Is the water testing done for ETP? | yes_no_na
WASTE MANAGEMENT | Is the lab equipped with autoclave? | yes_no_na
WASTE MANAGEMENT | Does the lab follow and update the autoclave records and process? | yes_no_na