## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Collection Centre Evaluation | Is the space sufficient to manage the current workload? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are reception and waiting areas clearly separated from specimen collection areas? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are handwashing facilities easily accessible to staff and patients? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is a clean and functional toilet available on site? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Does the setup ensure patient privacy during sample collection? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are operating hours clearly displayed for patients? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is the environment well lit, clean, and free from dust? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are temperature and humidity maintained at suitable levels? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are cleaning and housekeeping schedules documented and followed? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is ventilation adequate and cross-contamination risks minimized? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is there sufficient separation of spaces to prevent contamination of samples? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is a refrigerator with calibrated temperature records available? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is a centrifuge available with up-to-date calibration records? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are supplies stored properly to maintain integrity? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is there a proper blood collection chair or couch available for patient comfort? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is basic first-aid equipment/material accessible? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is there a working telephone or communication system? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is there a power backup system for critical equipment? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are essential consumables (tubes, syringes, swabs, etc.) available in sufficient stock? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are any expired supplies detected in storage? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is staffing adequate for the workload? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are staff training records updated and available? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Do staff have basic knowledge of first-aid and emergency measures? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is there a documented list of services offered at this centre? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is a sample collection manual available for reference? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are internal audit records maintained? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are staff following universal precautions (gloves, lab coat, masks)? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are all staff vaccinated against Hepatitis B? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are approved sharps containers and biomedical waste bins available? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is biomedical waste transported and disposed as per regulatory guidelines? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Does the centre comply with national/international specimen transport rules? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Have staff been trained in safe specimen handling, transport, and emergency measures? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Have staff undergone retraining/refresher courses within the last two years? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are infectious sample parcels labeled with a “Biohazard” tag? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are primary specimen containers leak-proof? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is the secondary container lined with sufficient absorbent material? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are all containers and packages properly labeled? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is outer packaging secure, labeled, and tamper-proof? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is a cooling agent used in outer packages where cold chain is required? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are transport conditions monitored using data loggers (if applicable)? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are slides transported in rigid containers to prevent damage? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Is there a documented process for patient complaints and feedback? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are complaints and feedback reviewed and resolved by the lab management? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Are emergency contact details displayed in the centre? | yes_no_na | Yes | No | NA
Collection Centre Evaluation | Does the centre maintain a log for equipment breakdowns and repairs? | yes_no_na | Yes | No | NA