## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Electrical Safety | Is the entire electrical installation in order? | yes_no_na
Electrical Safety | Have all electrical systems and equipment been tested in accordance with the provisions of the Electricity at Work Regulations 1989? | yes_no_na
Electrical Safety | Are records regarding regular testing of installation, equipment and portable appliances up to date? | yes_no_na
Electrical Safety | Is the use of flexible electrical cable and extension leads kept to a minimum and only short lengths used? | yes_no_na
Electrical Safety | Are the electrical circuits free of any evidence of overloading? | yes_no_na
Electrical Safety | Is electrical equipment (e.g. light bulbs/fittings and any electrical heating appliances) kept well away from combustible materials? | yes_no_na
Electrical Safety | Is the staff aware that only trained personnel authorised by management can make repairs or alterations to electrical systems and equipment? | yes_no_na
Fire Detection and Alarm Systems | Is there adequate provision of portable fire extinguishers which are suitable types for the fire risks where they are positioned? | yes_no_na
Fire Service Facilities and Liaison | Is there adequate access to the site and all buildings to enable fire brigade vehicles to get close enough for fire-fighting and rescue purposes? | yes_no_na
Management | Have staffs been suitably trained for these measures? | yes_no_na
Management | Is there suitable monitoring of fire safety measures in place? | yes_no_na
Means of Escape | Are fire exits of a sufficient number and of sufficient width to enable the people present in any and all areas to evacuate safely? | yes_no_na
Notices and Fire Safety Signs | Are sufficient appropriate fire safety notices and signs used throughout the premises? | yes_no_na
Notices and Fire Safety Signs | Do all "panic bar" fire exit doors have suitably positioned "Push Bar to Open" signs? | yes_no_na
Portable Fire-fighting Equipment | Are all portable fire extinguishers and fire blankets suitably located, positioned on brackets securely fixed to the wall and available for immediate use — not obstructed or hidden? | yes_no_na
Portable Fire-fighting Equipment | Are the locations of all portable fire extinguishers clearly identifiable? | yes_no_na
Portable Fire-fighting Equipment | Is the Pressure Gauge in the middle of the Green Zone? | yes_no_na
Safdsf | Is there an effective system for ensuring that the quantities and storage of all types of flammable materials are reasonable and properly controlled? | yes_no_na
Safdsf | Are all areas clean and tidy with no inappropriate storage and all combustible waste properly placed in designated containers? | yes_no_na
Safdsf | Is all waste regularly collected and placed in a safe place ready for collection? | yes_no_na
Safdsf | Does staff understand the need to report any potential fire hazards? | yes_no_na
Testing, Maintenance and Records | Is the fire detection and alarm system tests carried out and recorded? | yes_no_na
Testing, Maintenance and Records | Are the portable fire extinguishers and fire hoses properly tested | yes_no_na
Testing, Maintenance and Records | Is the automatic sprinkler system properly tested, maintained and these recorded? | yes_no_na
Testing, Maintenance and Records | Are their suitable records of the regular fire safety maintenance tests? | yes_no_na
Testing, Maintenance and Records | Are there suitable records of fire evacuation drills? | yes_no_na