## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
General | Is the coil temperature OK? | yes_no_na | Yes | No | Na
General | Is the air conditioner older than 5 years? | yes_no_na | Yes | No | Na
General | Has there been any other inspection for this AC? | yes_no_na | Yes | No | Na
General | Are the past records checked properly? | yes_no_na | Yes | No | Na
General | Is the AC above 2 tonnes? | yes_no_na | Yes | No | Na
General | Is it a wall AC? | yes_no_na | Yes | No | Na
General | Is it a window AC? | yes_no_na | Yes | No | Na
General | Is the AC sent for servicing in the last 3 months? | yes_no_na | Yes | No | Na
General | Is the AC looking dust-free from at a distance? | yes_no_na | Yes | No | Na
General | Is the dust and debris evident on the AC? | yes_no_na | Yes | No | Na
General | Does it provide ample cooling? (must check by switching it on)? | yes_no_na | Yes | No | Na
General | Is the remote of the AC in good condition? | yes_no_na | Yes | No | Na
General | Are all the buttons on the AC working properly? | yes_no_na | Yes | No | Na
General | Are the sensors on the AC working properly? | yes_no_na | Yes | No | Na
General | Is the swinging feature working efficiently? | yes_no_na | Yes | No | Na
General | Is the thermostat in good condition? | yes_no_na | Yes | No | Na
General | Is there dust on condenser coil? | yes_no_na | Yes | No | Na
General | Is yes, is it cleaned then and there? | yes_no_na | Yes | No | Na
General | Is the blower belt in good condition? | yes_no_na | Yes | No | Na
General | Is the voltage and amperage fine? | yes_no_na | Yes | No | Na
General | Is the compressor working properly? | yes_no_na | Yes | No | Na
General | Is it making excessive noise? | yes_no_na | Yes | No | Na
General | Is the compressor contactor in good condition? | yes_no_na | Yes | No | Na
General | Is the amp draw of compressor fine? | yes_no_na | Yes | No | Na
General | Is the start capacitor and potential relay working properly? | yes_no_na | Yes | No | Na
General | Is the air filter dirty? | yes_no_na | Yes | No | Na
General | Is yes, was it cleaned immediately? | yes_no_na | Yes | No | Na
General | Is there a need of lubrication on any AC part? | yes_no_na | Yes | No | Na
General | If yes, was it lubricated immediately? | yes_no_na | Yes | No | Na
General | Was the operating pressure checked? | yes_no_na | Yes | No | Na
General | Is the refrigerant level OK? | yes_no_na | Yes | No | Na
General | If not, was the owner advised properly? | yes_no_na | Yes | No | Na
General | Is the expansion valve in good condition? | yes_no_na | Yes | No | Na
General | Is the evaporator coil dirty? | yes_no_na | Yes | No | Na
General | If yes, has it been cleaned now? | yes_no_na | Yes | No | Na
General | Are all the electric wires checked? | yes_no_na | Yes | No | Na
General | Are they working properly? | yes_no_na | Yes | No | Na
General | Is there a pressure switch-cut out setting? | yes_no_na | Yes | No | Na
General | Is it working efficiently? | yes_no_na | Yes | No | Na
General | Is the stabilizer in good condition? | yes_no_na | Yes | No | Na
General | Has it also been cleaned? | yes_no_na | Yes | No | Na
General | Is the LED light on the AC working properly? | yes_no_na | Yes | No | Na
General | Is the screen showing temperature and other details clearly? | yes_no_na | Yes | No | Na
General | Is there a proper treatment of the AC water? | yes_no_na | Yes | No | Na
General | Is the machine overused? | yes_no_na | Yes | No | Na
General | Is there any part that needs to be replaced? | yes_no_na | Yes | No | Na
General | If yes, has the process begun? | yes_no_na | Yes | No | Na
General | Has any AC part been replaced or repaired in the past 6 months? | yes_no_na | Yes | No | Na
General | Are these questions enough to inspect the AC? | yes_no_na | Yes | No | Na