## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Consumer mains | Voltage drop | input
Consumer mains | Cable core identification | input
Consumer mains | Carrying capacity at present | input
Consumer mains | Wiring connection | input
Consumer mains | Condition of aerial installation | input
Earthing | Are earthing conductors compliant? | yes_no_na | Yes | No | Na
Earthing | Are there adequate connections, joints and terminations? | yes_no_na | Yes | No | Na
Earthing | Are earth electrodes installed? | yes_no_na | Yes | No | Na
Earthing | Is the main earthing conductor tagged? | yes_no_na | Yes | No | Na
Earthing | Are equipotential bonding conductors available? | yes_no_na | Yes | No | Na
Earthing | Is there adequate protection against external factors like UV light? | yes_no_na | Yes | No | Na
Earthing | Is there a requirement for additional earthing of equipment? | yes_no_na | Yes | No | Na
Earthing | When needed, is the conductive building material connected with earth? | yes_no_na | Yes | No | Na
Electrical safety | Installation type (commercial/domestic) | radio | commercial | domestic
Electrical safety | Any additions or alterations | input
Electrical safety | Installation age | input
Electrical safety | Estimated age of alteration | input
Electrical systems | What is the general condition of electrical equipment on the site? | input
Electrical systems | Are installed downlights compliant? | yes_no_na | Yes | No | Na
Electrical systems | Do the equipment have adequate fixing and support? | yes_no_na | Yes | No | Na
Electrical systems | Is the equipment suitable for the environment it is being operated in? | yes_no_na | Yes | No | Na
Electrical systems | Are there any loose wirings? | yes_no_na | Yes | No | Na
Electrical systems | Are there adequate isolation devices where needed? | yes_no_na | Yes | No | Na
Electrical systems | Is the equipment installation done as per manufacture guidelines? | yes_no_na | Yes | No | Na
Electrical systems | Is there protection against hazardous parts? | yes_no_na | Yes | No | Na
Electrical systems | Do all equipment have user manuals and operating instructions handy? | yes_no_na | Yes | No | Na
Electrical systems | Are all equipment serviced regularly? | yes_no_na | Yes | No | Na
Exit checks | Are all the switchboards secure? | yes_no_na | Yes | No | Na
Exit checks | Are the MEN connections intact? | yes_no_na | Yes | No | Na
Exit checks | Is the circuit connection and mains restored to original state? | yes_no_na | Yes | No | Na
Exit checks | Are all the tools and equipment safely packed and returned to the vehicle? | yes_no_na | Yes | No | Na
Exit checks | Is the person in control informed of departure? | yes_no_na | Yes | No | Na
Exit checks | Has the person in charge suggested the changes to be made? | yes_no_na | Yes | No | Na
Exit checks | Is the general condition of electrical installation compliant? | yes_no_na | Yes | No | Na
Switchboards | Are all switchboards easily accessible and not in restricted areas? | yes_no_na | Yes | No | Na
Switchboards | Do all switchboards have insulators and enclosures and there is no contact with live parts? | yes_no_na | Yes | No | Na
Switchboards | Are they protected against the spread of fire? | yes_no_na | Yes | No | Na
Switchboards | Are the main connections intact? | yes_no_na | Yes | No | Na
Switchboards | Do the switchboards have inbuilt or installed protection devices? | yes_no_na | Yes | No | Na
Switchboards | Are the devices compliant for over current protection? | yes_no_na | Yes | No | Na
Switchboards | Are connecting devices compliant? | yes_no_na | Yes | No | Na
Switchboards | Are isolating devices compliant? | yes_no_na | Yes | No | Na
Switchboards | Is there enough protection against mechanical damage, UV rays and external factors? | yes_no_na | Yes | No | Na
Switchboards | Are wiring and switchgears securely connected? | yes_no_na | Yes | No | Na
Switchboards | Are all switchboards well marked? | yes_no_na | Yes | No | Na
Switchboards | Are there RCDs installed on circuits applicable? | yes_no_na | Yes | No | Na
Switchboards | Do the consumer mains have protection against over current? | yes_no_na | Yes | No | Na
Switchboards | Is there a provision for automatic supply disconnection in case of a fault? | yes_no_na | Yes | No | Na
Wiring Systems | Cable core identification | input
Wiring Systems | Current carrying capacity of conductors | input
Wiring Systems | Are cables terminated as per requirement? | input
Wiring Systems | Support and fixing done? | input
Wiring Systems | How is the overhead wiring in the system? | input
Wiring Systems | Checked cable installation in ceiling space near manhole etc? | input
Wiring Systems | Checked the protection of mechanical damage and other external influences? | input
Wiring Systems | Are wirings away from gas, water and solar systems? | input