## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Audit verification | Date of inspection | date
Audit verification | Inspector's signature | signature
Exigency Plans | Is there a provision for disabled persons in case of emergency evacuation? | yes_no_na | Yes | No | NA
Exigency Plans | Are there usage instructions mentioned on the first aid fire fighting equipment? | yes_no_na | Yes | No | NA
Exigency Plans | Are provisions made for patients or visitors with impaired vision? | yes_no_na | Yes | No | NA
Exigency Plans | Are all fire escape signs clearly visible with proper images? | yes_no_na | Yes | No | NA
Exigency Plans | Do fire doors show appropriate signs (Fire Door Keep Shut/Push bar to open)? | yes_no_na | Yes | No | NA
Exigency Plans | Did you find signs mentioning "Fire Exit" doors got "Fire Exit Keep Clear "? | yes_no_na | Yes | No | NA
Exigency Plans | Are all red break glass call points identifiable? | yes_no_na | Yes | No | NA
Exigency Plans | Did you find "Action In case of Fire" notice beside each red break glass call point? | yes_no_na | Yes | No | NA
Exigency Plans | Do all "Action in case of Fire" notices have assembly point suitable for all? | yes_no_na | Yes | No | NA
Fire alarm | Select which of them is applicable to fire alarm | checkbox | Conventional | Addressable | Life protection system | Property protection system | Alarm receiving centre
Fire alarm | Did you find break glass call points at each final exits? | yes_no_na | Yes | No | NA
Fire alarm | Is the fire alarm loud enough to be heard throughout the building? | yes_no_na | Yes | No | NA
Fire alarm | Is the fire alarm visible? | yes_no_na | Yes | No | NA
Fire alarm | Is the fire alarm inspected weekly within the assessment area? | yes_no_na | Yes | No | NA
Fire alarm | Are there records of inspecting and maintenance of fire alarm system? | yes_no_na | Yes | No | NA
Fire alarm | Before commencing the work, is the staff properly trained on fire safety? | yes_no_na | Yes | No | NA
Fire alarm | Is the fire safety training mandate for all employees? | yes_no_na | Yes | No | NA
Fire alarm | Is the staff trained on means of escape, fire warning system and routine procedures? | yes_no_na | Yes | No | NA
Fire alarm | Are there records for fire drills? | yes_no_na | Yes | No | NA
Fire alarm | Are fire drills executed? | yes_no_na | Yes | No | NA
Fire alarm | Mention the date of last evacuation drill | date
Fire alarm | When the staff comes in or goes out of the assessment area, are records maintained? | yes_no_na | Yes | No | NA
Fire alarm | Are records maintained for visitors/guests coming in/going out of the premises? | yes_no_na | Yes | No | NA
Fire alarm | Are fire hazard rooms separated from the other rooms, providing a facility of fire resistance for at least half hour? | yes_no_na | Yes | No | NA
Fire alarm | Does the assessment have any previous RRO Audits conducted by local fire and rescue service? | yes_no_na | Yes | No | NA
Fire alarm | Overall comments/recommendations | textarea
Fire figthing equipments | Did you find any other fire-fighting provision to help firefighters? | yes_no_na | Yes | No | NA
Fire figthing equipments | Is the fire-fighting equipment properly positioned and accessible? | yes_no_na | Yes | No | NA
Fire figthing equipments | Are all fire extinguishers properly placed and aligned on escape routes? | yes_no_na | Yes | No | NA
Fire figthing equipments | Are the extinguishers adequate and well sited? | yes_no_na | Yes | No | NA
Fire figthing equipments | Do fire extinguishers position need indicating? | yes_no_na | Yes | No | NA
Fire figthing equipments | Are fire blankets available on-site incase of fire? | yes_no_na | Yes | No | NA
Fire figthing equipments | Within the assessment area, are the use of automatic fire extinguishers/suppressant systems considered? | yes_no_na | Yes | No | NA
Fire safety and getaways | Is the total travel distance to the nearest emergency exit been calculated? | yes_no_na | Yes | No | NA
Fire safety and getaways | Are the number and dependency of people using the premises taken into consideration while determining the means of escape? | yes_no_na | Yes | No | NA
Fire safety and getaways | Are the means of escape considered while making the evacuation strategy? | yes_no_na | Yes | No | NA
Fire safety and getaways | Are beds/furniture stored without blocking escape way? | yes_no_na | Yes | No | NA
Lighting on routes | Is the building large enough to require lightning protection? | yes_no_na | Yes | No | NA
Lighting on routes | Are all access roads to the building obstruction free? | yes_no_na | Yes | No | NA
Lighting on routes | Are there regular maintenance checks for lighting within the assessment area? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Is the building properly divided into compartments and sub-compartments to reduce the spread of fire? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Are all doors leading to protected shafts fitted with an automatic self-closing device? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Are self closing devices on fire doors functioning correctly, including door selectors? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Are fire doors operational and in good condition? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Do fire doors work properly upon activating fire alarm? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Do automatic sliding doors work properly upon activating fire alarm? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Are the cavities in roofs, ceilings, walls covered to prevent smoke/fire spread? | yes_no_na | Yes | No | NA
Limit Fire spread and other checks | Is there an automatic fire detection system on-site? | yes_no_na | Yes | No | NA
Modes to exit | Is the evacuation strategy laid out? | yes_no_na | Yes | No | NA
Modes to exit | Are there adequate fire exits as per the occupancy of the building? | yes_no_na | Yes | No | NA
Modes to exit | Does the emergency plan for the premises mentions preferred methods and suitability? | yes_no_na | Yes | No | NA
Modes to exit | Did you find the doors on the escape route side-hung or pivoted? | yes_no_na | Yes | No | NA
Modes to exit | If the sliding doors are present on the escape route, do they open outward? | yes_no_na | Yes | No | NA
Modes to exit | Are all doors in the premises obstruction free? | yes_no_na | Yes | No | NA
Modes to exit | Is the building structured in a way that could withstand the spread of fire/smoke for at least 30 minutes? | yes_no_na | Yes | No | NA
Modes to exit | Is the escape route clearly established? | yes_no_na | Yes | No | NA
Modes to exit | Does the escape route have anti-slip surface? | yes_no_na | Yes | No | NA
Modes to exit | Are there sufficient handrails on the escape routes? | yes_no_na | Yes | No | NA
Modes to exit | Is there an escape lighting on the escape route? | yes_no_na | Yes | No | NA
Modes to exit | Is there at least 2 separate compartments on each floor? | yes_no_na | Yes | No | NA
Modes to exit | Does each compartment have a minimum of 2 fire exits? | yes_no_na | Yes | No | NA
Modes to exit | Do shafts surrounding stairways have direct access to the outside at ground level? | yes_no_na | Yes | No | NA
Modes to exit | Is there escape lighting in the premises? | yes_no_na | Yes | No | NA
Modes to exit | Is primary lighting available to all internal and external escape routes safely? | yes_no_na | Yes | No | NA
Modes to exit | Did you find escape lift within the assessment area? | yes_no_na | Yes | No | NA
Modes to exit | Are there alternate ways for disabled persons to escape, incase of fire, when lifts are not in use? | yes_no_na | Yes | No | NA
Modes to exit | Is the building designed in way to restrain fire for a reasonable period? | yes_no_na | Yes | No | NA
Modes to exit | If the premises has a wall common to two or more buildings, does it make a provision to reduce the spread of fire between those buildings? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Select which of them have the procedures in place to control | checkbox | Smoking materials | Cooking process | Portable lighting | Faulty electrical equipment | Extension leads | Hot surfaces/work process | Risks
Origin of flames and fuel | Are all portable equipment PAT tested? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Is the electrical wiring examined by a capable person? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Is the electrical wiring good in condition? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Are all electrical sockets, plugs, appliances, fittings, bulbs, and adapters in good condition? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Are all light bulbs/shades and fittings away from flammable materials? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Is there proper lightning protection system in the assessment area? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Is there any record of previous fire loss within the assessment area? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Select which of the following are properly stored in the assessment | checkbox | Laundry items | Rubber/plastics | Wood furniture | Flammable products/liquids | Clothing | Decorations | Waste products | Toiletries | Walls/ceilings
Origin of flames and fuel | Are all textiles/furnishings up to the standards? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Are all storage areas monitored properly? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Are all store doors locked and secured? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Are all the documents stored properly? | yes_no_na | Yes | No | NA
Origin of flames and fuel | Are all exit/escape routed free of obstructions/ignitiable items? | yes_no_na | Yes | No | NA
Oxygen supplies | Are all oxygen supplies/gases stored and controlled within the assessment area? | yes_no_na | Yes | No | NA
Oxygen supplies | Are valves of oxygen supplies properly labeled for identification? | yes_no_na | Yes | No | NA
People and vulnerability | The employees who work in isolated areas, are there any policies to make them safe at night? | yes_no_na | Yes | No | NA
People and vulnerability | Are all people who are unfamiliar with the premises, made aware of the fire safety procedures? | yes_no_na | Yes | No | NA
People and vulnerability | Is the evacuation process safe for mentally disabled people, people with vision or hearing impairment, elderly patients, children and other disabled people? | yes_no_na | Yes | No | NA
People and vulnerability | Are there procedures in place in regard to the evacuation of any mentally disabled people, people with vision or hearing impairment, elderly patients, children and other disabled people? | yes_no_na | Yes | No | NA
People and vulnerability | Is a plan in place in the evacuation of people with language difficulties? | yes_no_na | Yes | No | NA
People and vulnerability | Did you find any people in the surrounding area of the premises? | yes_no_na | Yes | No | NA
People and vulnerability | Are there procedures to minimize fire risks? | yes_no_na | Yes | No | NA
People and vulnerability | Is the capacity of patients examined within the assessment area? | yes_no_na | Yes | No | NA
People and vulnerability | Is the capacity of staff members examined within the assessment area? | yes_no_na | Yes | No | NA