## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Audit verification | Signature of the Auditor | signature
Cleanliness and Maintenance | Is the work area clean and well organized? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Is the floor free from protruding nails, splinters, holes and loose boards? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are the aisles and passageways obstruction free? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are aisles and passageways clearly labelled? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are the tanks, pits properly covered? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are door openings and ladder ways guarded by a railing? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Do the floor opening which are temporary, have a railing or are they guarded by a staff? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are the stairs and handrails well maintained? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are the ladders being used, defect free? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Before being used, are the ladders set up properly? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are the elevated platforms properly secured and do they have handrails? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are the elevating devices being used within capacity? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are capacities posted on equipment? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are hey regularly being inspected, tested and maintained? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Are controls of the "dead man" type? | yes_no_na | Yes | No | NA
Cleanliness and Maintenance | Is proper training given to the operators? | yes_no_na | Yes | No | NA
Exit Details | Are the number of exits sufficient? | yes_no_na | Yes | No | NA
Exit Details | Are the exits easy to access? | yes_no_na | Yes | No | NA
Exit Details | Are the exits unlocked? | yes_no_na | Yes | No | NA
Exit Details | Are the exits properly marked? | yes_no_na | Yes | No | NA
Exit Details | Is emergency lighting seen at all the exits and exit routes? | yes_no_na | Yes | No | NA
Fire and Safety Check | Does each work area have a fire response plan? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are all workers aware of the plan? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are drills being regularly conducted? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are relevant fire extinguishers placed in that area? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are there sufficient fire extinguishers in that area? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are the locations of the fire extinguishers noticeable? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are the fire extinguishers easy to access and properly mounted? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are all the fire extinguishers fully loaded? | yes_no_na | Yes | No | NA
Fire and Safety Check | Are the fire extinguishers for any specific purpose properly marked? | yes_no_na | Yes | No | NA
First Aid Check | Are the employees aware of how to get the first aid assistance? | yes_no_na | Yes | No | NA
First Aid Check | Do the first-aiders know when and to which hospital or clinic an injured person should be taken? | yes_no_na | Yes | No | NA
First Aid Check | Are trained first aid practitioners available on each work shift? | yes_no_na | Yes | No | NA
First Aid Check | Are first-aid kits provided as per jurisdiction’s first-aid regulations? | yes_no_na | Yes | No | NA
First Aid Check | Is the first aid stock refilled after every use? | yes_no_na | Yes | No | NA
Lighting Check | Is the lighting adequate? | yes_no_na | Yes | No | NA
Lighting Check | Does any of the lights produce glare on work surfaces, monitors, screens and keyboards? | yes_no_na | Yes | No | NA
Lighting Check | Is Is emergency lighting sufficient and being tested regularly? | yes_no_na | Yes | No | NA
Loading and Unloading Check | Are all the steps, railings and retractable ramps on raised platforms in good condition? | yes_no_na | Yes | No | NA
Loading and Unloading Check | Are piping and in-line tools in good condition? | yes_no_na | Yes | No | NA
Loading and Unloading Check | Are loading arms functioning properly? | yes_no_na | Yes | No | NA
Loading and Unloading Check | Are the submerged filling two-stage valves functioning properly? | yes_no_na | Yes | No | NA
Loading and Unloading Check | Are bonding and grounding cables free of breaks or damage? | yes_no_na | Yes | No | NA
Loading and Unloading Check | Are connections tight and sound? | yes_no_na | Yes | No | NA
Loading and Unloading Check | Are junction boxes and wiring in good condition? | yes_no_na | Yes | No | NA
Machinery Check | Are all dangerous machine parts adequately secured? | yes_no_na | Yes | No | NA
Machinery Check | Do the machines guards meet the necessary standards? | yes_no_na | Yes | No | NA
Machinery Check | Are Are lockout procedures being followed when performing maintenance with guards? | yes_no_na | Yes | No | NA
Machinery Check | Is the Canadian Electrical Code adhered to in operation, use, repair and maintenance? | yes_no_na | Yes | No | NA
Machinery Check | Are the machines properly grounded? | yes_no_na | Yes | No | NA
Machinery Check | Are portable hand tools grounded? | yes_no_na | Yes | No | NA
Machinery Check | Are the junction boxed closed? | yes_no_na | Yes | No | NA
Machinery Check | Are extension cords kept out of the aisles? | yes_no_na | Yes | No | NA
Machinery Check | Are extension cords seen being used instead of permanent wiring? | yes_no_na | Yes | No | NA
Machinery Check | Are Are manufacturers' manuals maintained for all tools and machinery? | yes_no_na | Yes | No | NA
Machinery Check | Do power tools comply with the standards? | yes_no_na | Yes | No | NA
Machinery Check | Are the tools being used by the employees properly designed? | yes_no_na | Yes | No | NA
Machinery Check | Are the defective tools tagged and not in use? | yes_no_na | Yes | No | NA
Machinery Check | Are tools and machinery used so as to avoid electrical hazards? | yes_no_na | Yes | No | NA
Machinery Check | Are the employees given proper training to use the equipment in a safe way? | yes_no_na | Yes | No | NA
Material Storage Check | Can the equipment be cleared safety through the doors? | yes_no_na | Yes | No | NA
Material Storage Check | Is the material stored safely? | yes_no_na | Yes | No | NA
Material Storage Check | Are the storage areas free from tipping hazards? | yes_no_na | Yes | No | NA
Material Storage Check | Are forklifts being operated by trained staff? | yes_no_na | Yes | No | NA
Material Storage Check | Are areas designated for charging electric batteries? | yes_no_na | Yes | No | NA
Material Storage Check | Are dock boards used when loading or unloading from dock to truck or dock to rail car? | yes_no_na | Yes | No | NA
Material Storage Check | Are proper warning signs and devices used for railway sidings? | yes_no_na | Yes | No | NA
Material Storage Check | Are specifications posted for maximum loads which are approved for shelving, floors and roofs? | yes_no_na | Yes | No | NA
Material Storage Check | Are racks and platforms loaded within capacity? | yes_no_na | Yes | No | NA
Material Storage Check | Are chain hoists, ropes and slings adequate for the loads and marked accordingly? | yes_no_na | Yes | No | NA
Material Storage Check | Are slings checked before every use? | yes_no_na | Yes | No | NA
Material Storage Check | Are all new, repaired, or reconditioned alloy steel chain slings proof-tested before use? | yes_no_na | Yes | No | NA
Material Storage Check | Are relevant pallets and skids used and inspected? | yes_no_na | Yes | No | NA
Material Storage Check | Are proper lifting techniques used by the staff? | yes_no_na | Yes | No | NA
Material Storage Check | Is the size and condition of containers hazardous to workers? | yes_no_na | Yes | No | NA
Material Storage Check | Are elevators, hoists, conveyors, balers, etc., properly used with appropriate signals and directional warning signs? | yes_no_na | Yes | No | NA
Noise Level Check | Are noise surveys being performed regularly? | yes_no_na | Yes | No | NA
Noise Level Check | Is hearing protection equipment available and being used properly? | yes_no_na | Yes | No | NA
Personal Protection Equipment | Is the required PPE provided and in good condition? | yes_no_na | Yes | No | NA
Personal Protection Equipment | Does the equipment meet the necessary requirement? | yes_no_na | Yes | No | NA
Personal Protection Equipment | Is personal protection utilized only when it is not reasonably practicable to eliminate or control the hazardous substance or process? | yes_no_na | Yes | No | NA
Personal Protection Equipment | Are the areas requiring PPE usage properly identified by warning signs? | yes_no_na | Yes | No | NA
Process Controls | Is the job work requiring repeated motion kept to minimum?? | yes_no_na | Yes | No | NA
Provision for Employees | Are the facilities clean? | yes_no_na | Yes | No | NA
Provision for Employees | Are the facilities in good condition? | yes_no_na | Yes | No | NA
Provision for Employees | Are any toxic chemicals observed near or around the cafeteria? | yes_no_na | Yes | No | NA
Provision for Employees | Is hand washing facility available? | yes_no_na | Yes | No | NA
Safety Measures | Is all the necessary equipment to deal with extreme conditions been provided? | yes_no_na | Yes | No | NA
Safety Measures | Is the equipment given light and comfortable? | yes_no_na | Yes | No | NA
Safety Measures | When wet, are the work and grip surfaces safe? | yes_no_na | Yes | No | NA
Safety Measures | Are the staff members made aware of the symptoms of heat cramps/heat stroke, or frostbite/hypothermia? | yes_no_na | Yes | No | NA
Temporary Work Structure | Incase it is not possible to use permanent work structures, are temporary ones available? | yes_no_na | Yes | No | NA
Temporary Work Structure | Are excavations properly shored, free of large objects at the edges? | yes_no_na | Yes | No | NA
Training Details | Is training given to all new joinees? | yes_no_na | Yes | No | NA
Training Details | Please confirm if the initial training includes a review of hazards and accidents associated with the job? | yes_no_na | Yes | No | NA
Training Details | Please confirm if adequate instruction in the use of personal protective equipment been provided? | yes_no_na | Yes | No | NA
Training Details | Please confirm if training for the use of emergency equipment provided? | yes_no_na | Yes | No | NA
Training Details | Is information on "Right To Refuse" given to the staff? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Is the condition of the stairs, steps and dock platforms proper? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Are light fixtures in good condition? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Are all the work areas clean? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Is the material stored properly stacked? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Are the tools placed at a proper place? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Are the oils rags and rubbish put in metal containers? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Is the floor clean and free of oil spills? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | To clean oil spills, is there availability of absorbent? | yes_no_na | Yes | No | NA
Warehouse Maintenance Check | Are all flammable and combustible items stored properly? | yes_no_na | Yes | No | NA
Work Area Check | Are the confined space procedures and training available and followed by all involved? | yes_no_na | Yes | No | NA
Work Area Check | Are the entry and exit procedures sufficient? | yes_no_na | Yes | No | NA
Work Area Check | Are the emergency and rescue procedures in place? | yes_no_na | Yes | No | NA
Work Process | Is the accessibility of the material safety data sheets easy? | yes_no_na | Yes | No | NA
Work Process | Are the hazardous locations properly marked? | yes_no_na | Yes | No | NA
Work Process | Is all the equipment, forklifts and trucks in good condition? | yes_no_na | Yes | No | NA
Work Process | Are lockout/tagout procedures in place and followed? | yes_no_na | Yes | No | NA
Work Process | Is the ventilation equipment working properly? | yes_no_na | Yes | No | NA
Work Process | Is the dust and fumes collection hood working properly? | yes_no_na | Yes | No | NA
Work Process | Are the safety showers and eyewash locations at appropriate places and in good working condition? | yes_no_na | Yes | No | NA