## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Monthly Departmental inspection | Fire extinguishers and alarms are working properly without any obstruction? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Fire extinguisher report up to date? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Firefighters' pictures updated? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Is the fire register marked everyday? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Pathways for the exit gates are unobstructed and clear? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Stickers for the exit gate/running man sticker are evident and in good condition? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Signage and stickers attached to all the emergency equipment? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Exit boards are available and have lights attached? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Two members are always available as firefighters? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | First aid box is available? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Signage for first aid is evident? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Two members from the first aide team are always available? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Checklist of first aid up to date? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The equipment and tools inside first aid is displayed? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The first aid box is fully equipped? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The first aid box does not include any expired medicine? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | PPE kit is worn by all the employees? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Are all the employees aware how to wear PPE? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Adequate storage available for PPE kit and kits are stored properly? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Electric wires and cables are fitted properly and safely? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Switches and other electrical enclosures are covered with tight covers? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Flexible cords are arranged keeping in mind the chances of tripping of the cords? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Are extension cords used? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Cartons and fabrics are kept away from the plug points? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Electrical hazards are displayed with proper signage? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Rubber carpets are installed under the electrical panel? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Cartons and fabrics are kept at least 6ft. distance? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Cartons are arranged in a safe way? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The ladders at the site are safe to use? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The racks are mounted and safe to use? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The maximum load limit is displayed on the racks? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The mezzanine floors are demarcated with maximum load limit? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Helmets available for the use? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Staircases are safe to use and free from obstruction? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Do stairs include sharp or slippery edges? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Do all the machines in the site have sufficient guarding? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Machine guards are in good condition and being used? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Machine signage are in use? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The employees using machines well trained in the particular field? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | handing-over of machines are done after proper inspection? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Machines with stands have mounted floors? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The hoisting and lifting machines are driven by trained employees? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Are all the machines in the site safe to use? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Employees are trained for fire incidents? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Employees take correct measures if fire takes place? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Employees in the site know how to operate the emergency doors? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The employees know well about the ESH committee member? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | All the employees are aware of the nearest fire extinguisher and alarm points? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Firefighters and fire aid boxes are acknowledged by the employees? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | The incident reporting machines and near-miss are properly used by the employees? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Safety measures regarding the environment and machine are known to the employees? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | HMIS tags and labels are attached to all the chemicals? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Secondary containers for chemicals are marked with its load limit? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Do secondary containers contain dust or chemical residue? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | MSDS available for chemical inventory? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Chemical inventory is up to date and in good condition? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Spill kits are equipped and instructions are evident? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Chemical stores are installed in the safe and right place? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Eye washers for emergency purposes present? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | NO eating, NO drinking, NO smoking boards are properly displayed? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Safety training is given to every employee before offering a job? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | One or more near-miss incidents have been reported in the department? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Minimum one safety kaizen has been reported? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Monthly audits of the department are conducted by the department manager? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Department manager joins in the weekly GEMBA walk? | yes_no_na | Yes | No | Na
Monthly Departmental inspection | Weekly work hour rules are being strictly followed? | yes_no_na | Yes | No | Na