## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Audit verification | Please mention the Full Name of Inspector | input
Audit verification | Please validate the inspection with signature | signature
External checks and damages | Is the water pressure at a safe level? | yes_no_na | Yes | No | NA
External checks and damages | Is there any visible signs of cracks, brittleness, or leaking? | yes_no_na | Yes | No | NA
External checks and damages | Is the drainage line free from corrosion or any pipe damage? | yes_no_na | Yes | No | NA
External checks and damages | Did you notice if the gutter was obstructed? | yes_no_na | Yes | No | NA
Internal checks and damages | Did you notice any leaks/damages on faucets? | yes_no_na | Yes | No | NA
Internal checks and damages | Are there any water drips when the spigot is turned off or when the water is running? | yes_no_na | Yes | No | NA
Internal checks and damages | Are there any visible signs of water stains on walls/ceilings? | yes_no_na | Yes | No | NA
Internal checks and damages | Are there any loose fitting in the toilet ? | yes_no_na | Yes | No | NA
Internal checks and damages | Is there any blockage in water drains? | yes_no_na | Yes | No | NA
Overview | Are water lines roughed at the correct height and location? | yes_no_na | Yes | No | NA
Overview | Are med gas outlets installation done at the correct location? | yes_no_na | Yes | No | NA
Overview | Did you notice pipe insulate in their respective places? | yes_no_na | Yes | No | NA
Overview | Is the waste outlet capped and fixed at the correct location? | yes_no_na | Yes | No | NA
Overview | Are all the penetration via floor and are they sealed properly? | yes_no_na | Yes | No | NA
Overview | Is there any leakage in valves? | yes_no_na | Yes | No | NA
Overview | Is the plumbing system closely sealed? | yes_no_na | Yes | No | NA
Overview | Is a test conducted on water piping pressure? | yes_no_na | Yes | No | NA
Overview | Did you notice any issue with the pipe fittings? | yes_no_na | Yes | No | NA
Recommendations | Are results satisfied? | yes_no_na | Yes | No
Recommendations | Please provide your suggestions | textarea
Water markings and checks | Are used materials properly marked and approved? | yes_no_na | Yes | No | NA
Water markings and checks | Is there an indication of hot to the left and cold to the right? | yes_no_na | Yes | No | NA
Water markings and checks | Are tempering valves installed? | yes_no_na | Yes | No | NA
Water markings and checks | Did bathroom fixtures reach a max.of 50 degree centigrade? | yes_no_na | Yes | No | NA
Water markings and checks | Did you notice proper labels on pipe work? | yes_no_na | Yes | No | NA
Water markings and checks | Is pipe work at every truss or 600mm max on horizontal secured? | yes_no_na | Yes | No | NA
Water markings and checks | Is Pressure test at 1500 Kpa? | yes_no_na | Yes | No | NA