## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Audit verification | Signature of the inspector | signature
Audit verification | Date | date
Audit verification | Name | input
Electrical Safety and risks | Are electrical outlets authorized and in good condition? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are used surge protectors authorized? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are fuse boxes appropriately labeled? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are electrical space heaters, extension cords or devices secured? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are transformers placed in an approved surface? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are electrical equipment and tools in safe condition? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Is HAZCOM training given to staff members? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Is PPE easily accessible and available? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Did you find proper labels on hazardous material containers? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are all applicable hazardous materials stored in secondary containers? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Is there aproper storage of hazardous materials and cleaning agents? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are Material Safety Data Sheets maintained and easily accessible? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are SHARP containers affixed to the wall and emptied when 3/4 full? | yes_no_na | Yes | No | NA
Electrical Safety and risks | Are laboratory rooms properly locked when not in use? | yes_no_na | Yes | No | NA
Eyewash Stations and safety | Are there adequate eye wash stations? | yes_no_na | Yes | No | NA
Eyewash Stations and safety | Are emergency eyewash stations and showers tested weekly and reported? | yes_no_na | Yes | No | NA
Eyewash Stations and safety | Are emergency eyewash stations clean with eye cap protectors installed and are they obstruction free? | yes_no_na | Yes | No | NA
Fire and safety checks | Are utility and fire alarm systems freely accessible? | yes_no_na | Yes | No | NA
Fire and safety checks | Is there a monthly fire extinguisher inspections and are records kept for the same? | yes_no_na | Yes | No | NA
Fire and safety checks | Are stairwells clean and obstruction free? | yes_no_na | Yes | No | NA
Fire and safety checks | Do all exit doors function properly? And are they well maintained? | yes_no_na | Yes | No | NA
Fire and safety checks | Are all latches working properly? | yes_no_na | Yes | No | NA
Fire and safety checks | Are emergency exit signs functioning properly and visible clearly? | yes_no_na | Yes | No | NA
Fire and safety checks | Are keys for unlocking patient bathrooms and toilets easily available in case of an emergency? | yes_no_na | Yes | No | NA
Fire and safety checks | Did you find any broken or water damaged ceiling tiles? | yes_no_na | Yes | No | NA
Fire and safety checks | In case of broken/damaged tiles, does it need repair/replacement? | yes_no_na | Yes | No | NA
Ignitable Liquid inspection | Did you find liquid chemicals stored below eye level in all sections? | yes_no_na | Yes | No | NA
Ignitable Liquid inspection | Are flammable/combustible items protected with sprinkler system? | yes_no_na | Yes | No | NA
Ignitable Liquid inspection | Are flammable/combustible items secured? | yes_no_na | Yes | No | NA
Medical facilites and reports | Are medical equipment users able to describe capabilities, limitations, and applications of equipment? | yes_no_na | Yes | No | NA
Medical facilites and reports | Are medical equipment users able to express operating and safety procedures for equipment use? | yes_no_na | Yes | No | NA
Medical facilites and reports | Are medical equipment users able to express emergency procedures in case of equipment failure? | yes_no_na | Yes | No | NA
Medical facilites and reports | Are users of medical equipment able to report problems, failures, and user errors? | yes_no_na | Yes | No | NA
Medical facilites and reports | Is there a routine check for expiration dates? | yes_no_na | Yes | No | NA
Medical facilites and reports | Are user manuals for equipment readily available and updated? | yes_no_na | Yes | No | NA
Medical facilites and reports | Are nurse call and security alarms tested monthly? | yes_no_na | Yes | No | NA
Medical facilites and reports | In patient bathrooms and toilets, are call buttons available? | yes_no_na | Yes | No | NA
Other checks | Is the temperature of hot water for the hot water bags and baths tested with a thermometer? | yes_no_na | Yes | No | NA
Other checks | Did you find any other structural safety and tripping hazards? | yes_no_na | Yes | No | NA
Other checks | Are hazards identified, recorded and are corrective actions taken? | yes_no_na | Yes | No | NA
Other checks | Are safety, fire work orders prioritized and followed up? | yes_no_na | Yes | No | NA
Other checks | Are drug cabinets, distinctive bottles, poisons secured and properly labelled? | yes_no_na | Yes | No | NA
Other checks | Are safety related supply items requisitioned when needed? | yes_no_na | Yes | No | NA
Other checks | Are emergency phone numbers easily accessible? | yes_no_na | Yes | No | NA
Other checks | Are storage rooms organized with heavier items on lower shelves? | yes_no_na | Yes | No | NA
Other checks | Doors of storage rooms are properly secured and locked? | yes_no_na | Yes | No | NA
Other checks | Is there a distance of 18 inches between sprinklers and stored materials? | yes_no_na | Yes | No | NA
Other checks | Are curtains of storage rooms changed every 6 months? | yes_no_na | Yes | No | NA
Protective gear and disinfection | Is appropriate PPE available and worn? | yes_no_na | Yes | No | NA
Protective gear and disinfection | Is PPE available, properly maintained and used when required? | yes_no_na | Yes | No | NA
Protective gear and disinfection | Is the steam always shut off before opening any sterilizer? | yes_no_na | Yes | No | NA
Safety plan evaluation | Can the staff members explain about the safety risk in the environment of care? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are staff members able to express the actions to reduce safety risks in the environment? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are all areas including corridors obstruction free and reduce slipping/tripping? | yes_no_na | Yes | No | NA
Safety plan evaluation | Do all newcomers receive fire, safety, training before starting to work? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are all Safety procedures up to date and easily available? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are staff members able to explain specific role/responsibilities in preparing for building evacuation? | yes_no_na | Yes | No | NA
Safety plan evaluation | Can personnel demonstrate location and proper use of equipment for evacuating or transporting patients to refuge? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are annual fire drills evaluated and recorded properly? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are employees part of a continuing training program? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are self inspections conducted monthly and are actions taken, along with maintaining records? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are defibrillators daily checked and recorded? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are pre-holiday or pre-season safety briefings conducted and recorded properly? | yes_no_na | Yes | No | NA
Safety plan evaluation | Is there a proper monitoring to correct deficiencies that are discovered during fire & safety inspections? | yes_no_na | Yes | No | NA
Safety plan evaluation | Are accidents recorded and is an appropriate report prepared and forwarded to the Health Center Safety Manager in a timely manner? | yes_no_na | Yes | No | NA
Safety plan evaluation | Do supervisors investigate accidents and take corrective actions? | yes_no_na | Yes | No | NA
Safety plan evaluation | Do supervisors ensure that accident report forms are completed and sent to health care office? | yes_no_na | Yes | No | NA
Security of Oxygen container | Did you find "No Smoking" and "No Smoking Oxygen Tanks In Use" signs? | yes_no_na | Yes | No | NA
Security of Oxygen container | Are Oxygen cylinders stored separately from flammable and combustible material? | yes_no_na | Yes | No | NA
Security of Oxygen container | Is the storage of oxygen cylinders secured? | yes_no_na | Yes | No | NA
Security of Oxygen container | Are "Do Not Oil" signs displayed on oxygen tanks? | yes_no_na | Yes | No | NA
Security of Oxygen container | Are compressed gas cylinders properly labeled and secured to prevent falling? | yes_no_na | Yes | No | NA
Security of Oxygen container | Outside X-ray rooms, are all switches and operating devices in working condition? | yes_no_na | Yes | No | NA
Security of Oxygen container | Are lead aprons inspected and recorded? | yes_no_na | Yes | No | NA
Security of Oxygen container | In X-ray rooms, are radiation and pregnancy warning triangle posted? | yes_no_na | Yes | No | NA
Service System | Are utility system users able to explain about the utility system capabilities, limitations, and special applications? | yes_no_na | Yes | No | NA
Service System | Are utility system users able to explain about the emergency procedures in case of a system failure? | yes_no_na | Yes | No | NA
Service System | Are utility system users able to report utility systems management problems and errors? | yes_no_na | Yes | No | NA
Service System | Are utility system users able to explain about the location and use of emergency shut-off controls? | yes_no_na | Yes | No | NA
Service System | Are utility users able to describe who to contact in case of emergency? | yes_no_na | Yes | No | NA