## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
General inspection | Audit date | date
General inspection | Is the previous inspection been checked? | yes_no_na | Yes | No | NA
General inspection | Did you notice any outstanding actions? | yes_no_na | Yes | No | NA
General inspection | Is Door wedged or propped open seen? | yes_no_na | Yes | No | NA
General inspection | Are carts, equipment, or materials blocking the fire doors? | yes_no_na | Yes | No | NA
General inspection | Is Extinguishers in good condition? | yes_no_na | Yes | No | NA
General inspection | Is current inspection documentation present for extingishers? | yes_no_na | Yes | No | NA
General inspection | Is the Extinguishers free of obstruction? | yes_no_na | Yes | No | NA
General inspection | Are the Sprinkler Heads/Smoke Detectors well maintained? | yes_no_na | Yes | No | NA
General inspection | Are Indicator Lights blocked? | yes_no_na | Yes | No | NA
General inspection | Are Fire Exit signs well lit? | yes_no_na | Yes | No | NA
General inspection | Are Fire Doors locked properly? | yes_no_na | Yes | No | NA
General inspection | Is the Storage less than 18" from ceiling? | yes_no_na | Yes | No | NA
General inspection | Are Soiled/Clean/Hazardous Materials Rooms locked properly? | yes_no_na | Yes | No | NA
General inspection | Are Emergency Exit Corridors / Doors obstruction free? | yes_no_na | Yes | No | NA
General inspection | Is wheeled equipment present in corridor? | yes_no_na | Yes | No | NA
General inspection | Is Flammables well kept? | yes_no_na | Yes | No | NA
General inspection | Are there any leakage in Walls / Ceilings / Floors? | yes_no_na | Yes | No | NA
General inspection | Did you find any unauthorized space heaters? | yes_no_na | Yes | No | NA
General inspection | Is unauthorized heat producing equipment present (Toasters, etc) available? | yes_no_na | Yes | No | NA
General inspection | Are the Trash containers equivalent to 32 gallons capacity? | yes_no_na | Yes | No | NA
General inspection | Are the Electrical outlets working properly? | yes_no_na | Yes | No | NA
General inspection | Is the Critical equipment plugged into Red Outlet? | yes_no_na | Yes | No | NA
General inspection | Is ground prong available in all extension cords? | yes_no_na | Yes | No | NA
General inspection | Is covers or plates present on all switches, receptacles and computer boxes? | yes_no_na | Yes | No | NA
General inspection | Are Electrical panels accessible with 36" clearance around panels? | yes_no_na | Yes | No | NA
General inspection | Are handrails attached to the walls? | yes_no_na | Yes | No | NA
General inspection | Are wheelchairs in good condition? | yes_no_na | Yes | No | NA
General inspection | Did you notice any boxes on the floor? | yes_no_na | Yes | No | NA
General inspection | Are the tiles, carpet in good condition? | yes_no_na | Yes | No | NA
General inspection | Were stairwell well lit? | yes_no_na | Yes | No | NA
General inspection | Were the storage room well maintained? | yes_no_na | Yes | No | NA
General inspection | Did you find any items under sinks? | yes_no_na | Yes | No | NA
General inspection | Were the step ladders in good condition? | yes_no_na | Yes | No | NA
General inspection | Did you find any electrical cords, telephone and computer wires? | yes_no_na | Yes | No | NA
General inspection | Were the Desk, chairs, furniture well maintained? | yes_no_na | Yes | No | NA
General inspection | Is the Patient Room furniture well maintained? | yes_no_na | Yes | No | NA
General inspection | Were any stuffs thrown out near computers or nurse station? | yes_no_na | Yes | No | NA
General inspection | Is weekly inspection at eye wash station? | yes_no_na | Yes | No | NA
General inspection | Is High level disinfectant policy being followed? | yes_no_na | Yes | No | NA
General inspection | Were empty and full Medical gas cylinders kept seperatedly? | yes_no_na | Yes | No | NA
General inspection | Are Medical gas cylinders kept properly in bins, racks, or hand carts? | yes_no_na | Yes | No | NA
General inspection | Are Biohazard containers stored properly? | yes_no_na | Yes | No | NA
General inspection | Is MSDS provided to staff? | yes_no_na | Yes | No | NA
General inspection | Are Secondary container tagged properly? | yes_no_na | Yes | No | NA
General inspection | Are Hazardous materials well kept? | yes_no_na | Yes | No | NA
General inspection | Are employee personal items secured safely? | yes_no_na | Yes | No | NA
General inspection | Did the staff wear I.D. Badges properly? | yes_no_na | Yes | No | NA
General inspection | Are Confidential Material kept secured? | yes_no_na | Yes | No | NA
General inspection | Are the High risk patient's, equipment areas, hazardous material rooms have protected? | yes_no_na | Yes | No | NA
General inspection | Are Medications secured? | yes_no_na | Yes | No | NA
General inspection | Are the security hardware doors working properly? | yes_no_na | Yes | No | NA
General inspection | Are the Code carts locked in presence of staff? | yes_no_na | Yes | No | NA
General inspection | Were all the lights functional? | yes_no_na | Yes | No | NA
General inspection | Were Plumbing, faucets,, toilets well maintained? | yes_no_na | Yes | No | NA
General inspection | Is there any cleaning schedule for ice machine? | yes_no_na | Yes | No | NA
General inspection | Was the stairwell lights functional? | yes_no_na | Yes | No | NA
General inspection | Please mention any additional comments | textarea