## Sheet
section Name | Question Name | Question Type | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
Smoke detector test | Date of inspection: | date
Smoke detector test | No. of smoke detectors available: | number
Smoke detector test | No. of smoke detectors inspected: | number
Smoke detector test | Site supervisor: | input
Smoke detector test | Did all the smoke detectors pass the basic installation test? | yes_no_na | Yes | No | Na
Smoke detector test | Have all the detectors tested for BCA requirements? | yes_no_na | Yes | No | Na
Smoke detector test | Are there any smoke detectors showing signs of damage? | yes_no_na | Yes | No | Na
Smoke detector test | Are there any detectors found broken? | yes_no_na | Yes | No | Na
Smoke detector test | Are there any smoke detectors with faulty alarms? | yes_no_na | Yes | No | Na
Smoke detector test | Were there any detectors that were non-compliant? | yes_no_na | Yes | No | Na
Smoke detector test | Have the non-compliant detectors been replaced? | yes_no_na | Yes | No | Na
Smoke detector test | Further actions required to meet compliance? | yes_no_na | Yes | No | Na
Smoke detector test | Next inspection due on: | date